SwiftRMS
PERMIT TO WORK · GENERAL
Permit to Work Template
	Permit no.:  [  ]
	Site:  [  ]

	Exact location of work:  [  ]
	Date:  [DD/MM/YYYY]

	Valid from (time):  [HH:MM]
	Valid until (time):  [HH:MM]

	Issued to (company):  [  ]
	Person in charge of the work:  [  ]

	RAMS ref.:  [  ]
	Linked permits (hot work, confined space):  [  ]


Part A. Description of the work
What will be done, on which plant, equipment or area, and by how many people.
	


Part B. Hazards and precautions
List the hazards from the RAMS for this task and the precaution that must be in place before work starts.
	Hazard
	Precaution in place
	Checked by

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	


Part C. Isolations
Electrical, mechanical, pipework or other energy sources. Lock and tag each one, and prove it dead before work starts.
	Isolation
	Point of isolation
	Lock / tag no.
	Isolated by
	Proved by

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


Part D. Checks before work starts

☐  RAMS read and the work team briefed
☐  Area barriered and signed
☐  Isolations in place and proved
☐  Atmosphere tested, where needed
☐  PPE and equipment as listed in the RAMS
☐  Emergency and rescue arrangements in place
☐  Other trades and the site manager told about the work
Part E. Issue and acceptance
The issuer confirms the precautions are in place. The person in charge confirms they understand the permit and will brief the team.
	Issued by (authorised person)

Name

Signature

Date
	Accepted by (person in charge)

Name

Signature

Date


Part F. Extension or shift handover

	Date
	Time
	Extended to
	Issuer
	Person in charge

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	


Part G. Hand-back and cancellation

☐  Work complete, or stopped and made safe
☐  Tools, materials and waste removed
☐  Area safe to return to service; isolations can be removed
	Handed back by (person in charge)

Name

Signature

Date
	Permit cancelled by (issuer)

Name

Signature

Date


Briefing record
Everyone carrying out this work must be briefed before it starts. By signing below each person confirms: "I confirm I have been briefed on this permit to work, understand the hazards and control measures, and will work in accordance with it."
	No.
	Name
	Signature
	Date

	1
	
	
	

	2
	
	
	

	3
	
	
	

	4
	
	
	

	5
	
	
	

	6
	
	
	

	7
	
	
	

	8
	
	
	


A permit to work supports the RAMS; it does not replace it. Only an authorised person should issue it, for one task, one location and a set time. This blank template is not legal advice: adapt it to your own permit procedure.
swiftRMS · Generate a filled-in, task-specific RAMS in 2 minutes at swiftrms.co.uk/try
